Stormwater Pollution Prevention Plan

For

~

Prepared For

Northwest Regional Office

3190 - 160th Avenue SE

Bellevue, WA  98008-5452

425-649-7000

| Owner | Developer | Operator/Contractor |
| --- | --- | --- |
| ~ | ~ | ~ |
| ~ | ~ | ~ |
| ~ | ~ | ~ |

Project Site Location

Certified Erosion and Sediment Control Lead

~

~

SWPPP Prepared By

~

~

~

~

~, ~

SWPPP Preparation Date

~

Approximate Project Construction Dates

~

~

###### Contents

1.0	Introduction	1

2.0	Site Description	5

2.1	Existing Conditions	5

2.2	Proposed Construction Activities	6

3.0	Construction Stormwater BMPs	11

3.1	The 12 BMP Elements	11

3.1.1	Element #1 – Mark Clearing Limits	11

3.1.2	Element #2 – Establish Construction Access	12

3.1.3	Element #3 – Control Flow Rates	13

3.1.4	Element #4 – Install Sediment Controls	14

3.1.5	Element #5 – Stabilize Soils	16

3.1.6	Element #6 – Protect Slopes	16

3.1.7	Element #7 – Protect Drain Inlets	17

3.1.8	Element #8 – Stabilize Channels and Outlets	18

3.1.9	Element #9 – Control Pollutants	18

3.1.10	Element #10 – Control Dewatering	19

3.1.11	Element #11 – Maintain BMPs	19

3.1.12	Element #12 – Manage the Project	19

3.2	Site Specific BMPs	19

3.3	Additional Advanced BMPs	19

4.0	Construction Phasing and BMP Implementation	21

5.0 Pollution Prevention Team	25

5.1	Roles and Responsibilities	25

5.2	Team Members	26

6.0	Site Inspections and Monitoring	27

6.1	Site Inspection	27

6.1.1	Site Inspection Frequency	28

6.1.2	Site Inspection Documentation	28

6.2	Stormwater Quality Monitoring	28

6.2.1	Turbidity	29

6.2.2	pH	30

7.0	Reporting and Recordkeeping	33

7.1	Recordkeeping	33

7.1.1	Site Log Book	33

7.1.2	Records Retention	34

7.1.3	Access to Plans and Records	34

7.1.4	Updating the SWPPP	34

7.2	Reporting	34

7.2.1	Discharge Monitoring Reports	34

7.2.2	Notification of Noncompliance	35

7.2.3	Permit Application and Changes	35

Appendix A – Site Plans	35

Appendix B – Construction BMPs	37

Appendix C – Alternative BMPs	38

Appendix D – General Permit	39

Appendix E – Site Inspection Forms (and Site Log)	40

Appendix F – Engineering Calculations	49

Appendix A	Site plans

- Vicinity map (with all discharge points)

- Site plan with TESC measures

Appendix B	Construction BMPs

- Possibly reference in BMPs, but likely it will be a consolidated list so that the applicant can photocopy from the list from the SWMM.

Appendix C	Alternative Construction BMP list

- List of BMPs not selected, but can be referenced if needed in each of the 12 elements

Appendix D	General Permit

Appendix E	Site Log and Inspection Forms

Appendix F	Engineering Calculations (if necessary)

- Flows, ponds, etc…

# 1.0	Introduction

INSTRUCTIONS

The following introduction requires site-specific input.  The format of the introduction is optional and can be edited freely.  Please review the example provided since it provides a standard and accepted SWPPP introduction format.

The recommended text for the introduction section is in bold text in the example below.  The example text is italicized.  The example can be cut and paste into the required text box and edited to include the site-specific information.  If the example is not used, the following information must be included in the introduction:

The project site name

Brief (summary) site description

Brief (summary) description of the proposed project (what/when)

Purpose/Objectives of the SWPPP (SWPPP objectives (1-3))

Reference to the Stormwater Management Manual for Eastern or Western Washington, as applicable

Organization of the SWPPP.

EXAMPLE TEXT

This Stormwater Pollution Prevention Plan (SWPPP) has been prepared as part of the NPDES stormwater permit requirements for the Riverside Heights construction project in Yakima, Washington.  The site is located on the north side of Yakima, southwest of the interchange for Interstate 82 (I-82) and State Route 12 (Hwy 12).  The existing site is a 2.3-acre lot with a 10,000 square foot one-story apartment building.  The proposed development consists of the construction of a new apartment building complex that will include 48 residential units, a swimming pool, underground parking lot, stormwater detention facility, and  landscaping.

Construction activities will include demolition, excavation, grading, relocation of onsite services/utilities, a poured concrete underground garage and indoor swimming pool complex, and construction of a three-story wood frame building.  The purpose of this SWPPP is to describe the proposed construction activities and all temporary and permanent erosion and sediment control (TESC) measures, pollution prevention measures, inspection/monitoring activities, and recordkeeping that will be implemented during the proposed construction project.  The objectives of the SWPPP are to:

- Implement Best Management Practices (BMPs) to prevent erosion and sedimentation, and to identify, reduce, eliminate or prevent stormwater contamination and water pollution from construction activity.

- Prevent violations of surface water quality, ground water quality, or sediment management standards.

- Prevent, during the construction phase, adverse water quality impacts including impacts on beneficial uses of the receiving water by controlling peak flow rates and volumes of stormwater runoff at the Permittee’s outfalls and downstream of the outfalls.

This SWPPP was prepared using the Ecology SWPPP Template downloaded from the Ecology website on July 2, 2005.  This SWPPP was prepared based on the requirements set forth in the Construction Stormwater General Permit, Stormwater Management Manual for Western Washington (SWMMWW 2005) and in the Stormwater Management Manual for Eastern Washington (SWMMEW 2004).  The report is divided into seven main sections with several appendices that include stormwater related reference materials.  The topics presented in the each of the main sections are:

Section 1 – INTRODUCTION.  This section provides a summary description of the project, and the organization of the SWPPP document.

Section 2 – SITE DESCRIPTION.  This section provides a detailed description of the existing site conditions, proposed construction activities, and calculated stormwater flow rates for existing conditions and post–construction conditions.

Section 3 – CONSTRUCTION BMPs.  This section provides a detailed description of the BMPs to be implemented based on the 12 required elements of the SWPPP (SWMMEW 2004).

Section 4 – CONSTRUCTION PHASING AND BMP IMPLEMENTATION.  This section provides a description of the timing of the BMP implementation in relation to the project schedule.

Section 5 – POLLUTION PREVENTION TEAM.  This section identifies the appropriate contact names (emergency and non-emergency), monitoring personnel, and the onsite temporary erosion and sedimentation control inspector

Section 6 – INSPECTION AND MONITORING.  This section provides a description of the inspection and monitoring requirements such as the parameters of concern to be monitored, sample locations, sample frequencies, and sampling methods for all stormwater discharge locations from the site.

Section 7 – RECORDKEEPING.  This section describes the requirements for documentation of the BMP implementation, site inspections, monitoring results, and changes to the implementation of certain BMPs due to site factors experienced during construction.

Supporting documentation and standard forms are provided in the following Appendices:

Appendix A – Site plans

Appendix B – Construction BMPs

Appendix C – Alternative Construction BMP list

Appendix D – General Permit

Appendix E – Site Log and Inspection Forms

Appendix F – Engineering Calculations

REQUIRED TEXT

# 2.0	Site Description

INSTRUCTIONS

The following section requires site specific information such as a description of the site area, topography, proposed construction activities and anticipated stormwater runoff flows from the site.

This section is not as automated as some of the other sections of this SWPPP template and will require significant text input from the applicant into the “Required Text” box.  Example text is provided.

The example text provided below is specific to a different site and should not simply be copied and reused, but may be copied into the “Required Text” area and then edited as necessary.

The grey shaded text boxes require text inserts.  Click the text box to highlight the ENTIRE grey area, then type in text.

## 2.1	Existing Conditions

INSTRUCTIONS

Read the example text, copy relevant text, and edit to suit the specific characteristics of the site.

The recommended format includes 3 paragraphs that cover the mandatory information as follows:

- Description of site (location, size, existing structures, topography, typical soil and groundwater characteristics).

- Description of drainage (onsite runoff conveyance and downstream receiving water bodies and drainage systems).

- Description of critical areas (high erosion risk areas, wetland/stream/shoreline areas, steep slope areas, and landslide-prone areas)

The applicant may use their own format for this section, but must include all of the required information described above.

EXAMPLE TEXT

The proposed site is located just south of Interstate 5 (I-5) and west of Meridian Street in Bellingham, Washington.  A site vicinity map and coordinates are provided in Appendix A.  The site is 3.5 acres in size and includes a one-story industrial warehouse on the north side of the site, and large gravel parking lot on the south side of the site.  The topography of the site and surrounding properties gently slopes to the northwest.  Surficial soils consist of 3 feet of silty sandy loam underlain by a deep layer of sands and gravels.  The site is well drained and groundwater lies approximately 15 feet below the surface.

Runoff from the site generally drains from south to north to a series of catch basins.  The catch basins convey runoff to a storm drain system that flows to the northwest corner of the site and discharges to a city owned storm drain system.  The city system discharges to Squalicum Creek.  At the point of discharge, Squalicum Creek is listed as a Category 5 polluted water of the state under the State’s Clean Water Act Section 303(d) list, due to zinc and fecal coliform bacteria contamination.

There are no critical areas on the site such as high erosion risk areas, wetlands, streams, or steep slopes (potential landslide area).  There is a wetland and stream approximately 400 feet north of the site (Squalicum Creek and surrounding riparian habitat).

REQUIRED TEXT

## 2.2	Proposed Construction Activities

INSTRUCTIONS

Similar to the previous section, read the example text, copy relevant text, and edit to suit the specific characteristics of the site.

The recommended format includes the 4 paragraphs shown and the table format showing total site area, proposed area of disturbance, pervious areas, impervious areas, and anticipated runoff flows.  The four paragraphs include the following mandatory information:

- Description of site development

- Description of construction activities (site preparation, demolition, excavation, etc…)

- Description of site drainage

- Description of final site soil stabilization, revegetation, etc…

The applicant may use their own format for this section, but must include all of the required information described above.

EXAMPLE TEXT

The proposed development includes the construction of a two-story commercial building that will be used as a storage and retail area for automotive parts and accessories.  The proposed building will be centrally located on the site with a new asphalt paved parking lot on the front (north) and a paved loading dock area on the south.  A combined stormwater detention and treatment vault will be constructed in the northwest corner (low drainage spot) of the site.  New sanitary, electrical, gas, and storm drain utilities will also be constructed.

Construction activities will include site preparation, TESC installation, demolition of the existing warehouse structure, excavation for the building foundations and pre-cast concrete stormwater vault, poured concrete foundations, concrete tilt-up building construction, site-wide grading, and asphalt paving.  The schedule and phasing of BMPs during construction is provided in Section 4.0.

INSTRUCTIONS

For stormwater design information for Western Washington, refer to the SWMMWW for hydraulic analysis and design.  The web link is: http://www.ecy.wa.gov/biblio/0510031.html.

For stormwater design information for Eastern Washington, refer to the SWMMEW for hydraulic analysis and design:  The web link is: http://www.ecy.wa.gov/biblio/0410076.html.

Stormwater runoff volumes were calculated using the Western Washington Hydrology Model (WWHM).  The temporary sedimentation pond that will be used during construction was designed using the 2-year storm event since construction will not occur over a long time-frame (approximately one year).  The combined detention and treatment vault was designed using WWHM where the treatment sump was sized using the 6-month treatment volume and the live storage detention volume was designed by matching pre and post construction flows and durations for 50 percent of the 2-year flow and the 50-year flow.

After the building is constructed and all new utilities are installed, the site will be graded and paved.  A landscape buffer area will be constructed on the north side of the site and the parking area will contain median lane divide planters.

The following summarizes details regarding site areas:

Total site area:	3.5 acres

Percent impervious area before construction:	70 %

Percent impervious area after construction:	80 %

Disturbed area during construction:	3.3 acres

Disturbed area that is characterized as impervious (i.e., access 
roads, staging, parking):	2.6 acres

2-year stormwater runoff peak flow prior to construction 
(existing):	0.52 cfs

10-year stormwater runoff peak flow prior to construction 
(existing):	0.72 cfs

2-year stormwater runoff peak flow during construction:	0.55 cfs

10-year stormwater runoff peak flow during construction:	0.75 cfs

2-year stormwater runoff peak flow after construction:	0.38 cfs

10-year stormwater runoff peak flow after construction:	0.58 cfs

All stormwater flow calculations are provided in Appendix F.

INSTRUCTIONS

Insert text for this section below (with context as per the four paragraphs example above) in the required text box.

Check the Table below to make sure all entries are complete and correct.

REQUIRED TEXT

The following summarizes details regarding site areas:

Total site area:	      acres

Percent impervious area before construction:	      %

Percent impervious area after construction:	      %

Disturbed area during construction:	      acres

Disturbed area that is characterized as impervious (i.e., 
access roads, staging, parking):	      acres

2-year stormwater runoff peak flow prior to construction 
(existing):	      cfs

10-year stormwater runoff peak flow prior to construction 
(existing):	      cfs

2-year stormwater runoff peak flow during construction:	      cfs

10-year stormwater runoff peak flow during construction:	      cfs

2-year stormwater runoff peak flow after construction:	      cfs

10-year stormwater runoff peak flow after construction:	      cfs

All stormwater flow calculations are provided in Appendix F.

# 3.0	Construction Stormwater BMPs

INSTRUCTIONS

This section mostly consists of pre-programmed text inserted into the document based on input from the Wizard.  Some required text such as a brief description of locations and scheduling of BMPs that were chosen in the SWPPP Wizard.

BMPs chosen in the Wizard will automatically appear in the SWPPP text.

Unselected BMPs will automatically be inserted into Appendix C as alternative BMPs that can be referenced at a later date if the selected BMPs are not performing as intended or if site conditions change, warranting implementation of different BMPs than included in the original SWPPP.

A list of BMPs selected in the Wizard is generated in Appendix B.  The applicant should photocopy and place the corresponding Ecology fact sheets into Appendix B for each BMP.  The Fact sheets can be found in the SWMMWW Volume II Chapter 4 Section 4.1 http://www.ecy.wa.gov/biblio/0510030.html, or the SWMMEW Chapter 7 Section 7.3.1 http://www.ecy.wa.gov/biblio/0410076.html.  These fact sheets include specifications and installation requirements for each BMP.  Each of the 12 elements described below must be included in the SWPPP, unless it can be justified that a particular element does not apply for the project site, in which case a brief narrative providing the justification must be written and included in the SWPPP.  Depending on the site, multiple BMPs for each element may be needed.

The SWPPP preparer should be thoroughly familiar with BMP C160: Certified Erosion and Sediment Control Lead and BMP C161: Payment of Erosion Control Work before completing this section of the SWPPP, because those BMPs are referenced throughout the discussion of BMP selection in this section.

## 3.1	The 12 BMP Elements

### 3.1.1	Element #1 – Mark Clearing Limits

To protect adjacent properties and to reduce the area of soil exposed to construction, the limits of construction will be clearly marked before land-disturbing activities begin.  Trees that are to be preserved, as well as all sensitive areas and their buffers, shall be clearly delineated, both in the field and on the plans.  In general, natural vegetation and native topsoil shall be retained in an undisturbed state to the maximum extent possible.  The BMPs relevant to marking the clearing limits that will be applied for this project include:

No BMPs to be implemented

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description for each selected BMP where and when the BMP will be implemented.

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description why no BMPs will be implemented for this element of the SWPPP.

REQUIRED TEXT

Alternate BMPs for marking clearing limits are included in Appendix C as a quick reference tool for the onsite inspector in the event the BMP(s) listed above are deemed ineffective or inappropriate during construction to satisfy the requirements set forth in the General NPDES Permit (Appendix D).  To avoid potential erosion and sediment control issues that may cause a violation(s) of the NPDES Construction Stormwater permit (as provided in Appendix D), the Certified Erosion and Sediment Control Lead will promptly initiate the implementation of one or more of the alternative BMPs listed in Appendix C after the first sign that existing BMPs are ineffective or failing.

### 3.1.2	Element #2 – Establish Construction Access

Construction access or activities occurring on unpaved areas shall be minimized, yet where necessary, access points shall be stabilized to minimize the tracking of sediment onto public roads, and wheel washing, street sweeping, and street cleaning shall be employed to prevent sediment from entering state waters.  All wash wastewater shall be controlled on site.  The specific BMPs related to establishing construction access that will be used on this project include:

No BMPs to be implemented

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description for each selected BMP where and when the BMP will be implemented.

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description why no BMPs will be implemented for this element of the SWPPP.

REQUIRED TEXT

Alternate construction access BMPs are included in Appendix C as a quick reference tool for the onsite inspector in the event the BMP(s) listed above are deemed ineffective or inappropriate during construction to satisfy the requirements set forth in the General NPDES Permit (Appendix D).  To avoid potential erosion and sediment control issues that may cause a violation(s) of the NPDES Construction Stormwater permit (as provided in Appendix D), the Certified Erosion and Sediment Control Lead will promptly initiate the implementation of one or more of the alternative BMPs listed in Appendix C after the first sign that existing BMPs are ineffective or failing.

### 3.1.3	Element #3 – Control Flow Rates

In order to protect the properties and waterways downstream of the project site, stormwater discharges from the site will be controlled.  The specific BMPs for flow control that shall be used on this project include:

No BMPs to be implemented

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description for each selected BMP where and when the BMP will be implemented.

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description why no BMPs will be implemented for this element of the SWPPP.

REQUIRED TEXT

Alternate flow control BMPs are included in Appendix C as a quick reference tool for the onsite inspector in the event the BMP(s) listed above are deemed ineffective or inappropriate during construction to satisfy the requirements set forth in the General NPDES Permit (Appendix D).  To avoid potential erosion and sediment control issues that may cause a violation(s) of the NPDES Construction Stormwater permit (as provided in Appendix D), the Certified Erosion and Sediment Control Lead will promptly initiate the implementation of one or more of the alternative BMPs listed in Appendix C after the first sign that existing BMPs are ineffective or failing.

The project site is located west of the Cascade Mountain Crest.  As such, the project must comply with Minimum Requirement 7 (Ecology 2005).

The project site is located east of the Cascade Mountain Crest.  As such, the project must comply with Core Element 6 (Ecology 2004).

In general, discharge rates of stormwater from the site will be controlled where increases in impervious area or soil compaction during construction could lead to downstream erosion, or where necessary to meet local agency stormwater discharge requirements (e.g. discharge to combined sewer systems).

### 3.1.4	Element #4 – Install Sediment Controls

All stormwater runoff from disturbed areas shall pass through an appropriate sediment removal BMP before leaving the construction site or prior to being discharged to an infiltration facility.  The specific BMPs to be used for controlling sediment on this project include:

No BMPs to be implemented

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description for each selected BMP where and when the BMP will be implemented.

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description why no BMPs will be implemented for this element of the SWPPP.

REQUIRED TEXT

Alternate sediment control BMPs are included in Appendix C as a quick reference tool for the onsite inspector in the event the BMP(s) listed above are deemed ineffective or inappropriate during construction to satisfy the requirements set forth in the General NPDES Permit (Appendix D).  To avoid potential erosion and sediment control issues that may cause a violation(s) of the NPDES Construction Stormwater permit (as provided in Appendix D), the Certified Erosion and Sediment Control Lead will promptly initiate the implementation of one or more of the alternative BMPs listed in Appendix C after the first sign that existing BMPs are ineffective or failing.

In addition, sediment will be removed from paved areas in and adjacent to construction work areas manually or using mechanical sweepers, as needed, to minimize tracking of sediments on vehicle tires away from the site and to minimize washoff of sediments from adjacent streets in runoff.

Whenever possible, sediment laden water shall be discharged into onsite, relatively level, vegetated areas (BMP C240 paragraph 5, page 4-102).

In some cases, sediment discharge in concentrated runoff can be controlled using permanent stormwater BMPs (e.g., infiltration swales, ponds, trenches).  Sediment loads can limit the effectiveness of some permanent stormwater BMPs, such as those used for infiltration or biofiltration; however, those BMPs designed to remove solids by settling (wet ponds or detention ponds) can be used during the construction phase.  When permanent stormwater BMPs will be used to control sediment discharge during construction, the structure will be protected from excessive sedimentation with adequate erosion and sediment control BMPs.  Any accumulated sediment shall be removed after construction is complete and the permanent stormwater BMP will be restabilized with vegetation per applicable design requirements once the remainder of the site has been stabilized.

INSTRUCTIONS

The following text includes more complex sediment control/treatment BMPs.  These BMPs should be used if sediment controls are not (or not anticipated to be) adequate for the site-specific construction activities.  These BMPs are primarily used on:

Larger sites (i.e. greater than 5 acres), or,

Sites that have continual soil disturbance and are difficult to temporarily stabilize, or,

Sites at higher risk of erosion (i.e. slopes), or,

Sites where the downstream environment is particularly sensitive and more stringent discharge controls are required.

On larger, more complex sites, it is recommended to have these BMPs as possible contingencies if turbidity is determined to be an issue during construction.  The order of the BMPs presented is from least to most complex and involved.  A typical approach to these BMPs is to use the sediment pond approach first, then move to filtration or chemical treatment.  This approach can be added to the text provided below if applicable.

It is recommended that these BMPs are considered, or sequentially implemented, in the order shown below in the event that more stringent sediment controls are deemed necessary based on either anticipated sediment control issues or onsite monitoring/inspection.  Implementation of BMP C250 is complex.  Chemical Treatment requires written approval from Ecology prior to implementation (see BMP C250 fact sheet in the SWMMWW (2005)) and needs to be specifically written into the permit.

The following BMPs will be implemented as end-of-pipe sediment controls as required to meet permitted turbidity limits in the site discharge(s).  Prior to the implementation of these technologies, sediment sources and erosion control and soil stabilization BMP efforts will be maximized to reduce the need for end-of-pipe sedimentation controls.

Temporary Sediment Pond (BMP C241)

Construction Stormwater Filtration (BMP C251)

Construction Stormwater Chemical Treatment (BMP C 250) (implemented only with prior written approval from Ecology).

### 3.1.5	Element #5 – Stabilize Soils

Exposed and unworked soils shall be stabilized with the application of effective BMPs to prevent erosion throughout the life of the project.  The specific BMPs for soil stabilization that shall be used on this project include:

No BMPs to be implemented

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description for each selected BMP where and when the BMP will be implemented.

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description why no BMPs will be implemented for this element of the SWPPP.

REQUIRED TEXT

Alternate soil stabilization BMPs are included in Appendix C as a quick reference tool for the onsite inspector in the event the BMP(s) listed above are deemed ineffective or inappropriate during construction to satisfy the requirements set forth in the General NPDES Permit (Appendix D).  To avoid potential erosion and sediment control issues that may cause a violation(s) of the NPDES Construction Stormwater permit (as provided in Appendix D), the Certified Erosion and Sediment Control Lead will promptly initiate the implementation of one or more of the alternative BMPs listed in Appendix C after the first sign that existing BMPs are ineffective or failing.

The project site is located west of the Cascade Mountain Crest.  As such, no soils shall remain exposed and unworked for more than 7 days during the dry season (May 1 to September 30) and 2 days during the wet season (October 1 to April 30).  Regardless of the time of year, all soils shall be stabilized at the end of the shift before a holiday or weekend if needed based on weather forecasts.

The project site is located East of the Cascade Mountain Crest outside of the Central Basin.  As such, no soils shall remain exposed and unworked for more than 10 days during the dry season (July 1 to September 30) and 5 days during the wet season (October 1 to June 30).  Regardless of the time of year, all soils shall be stabilized at the end of the shift before a holiday or weekend if needed based on weather forecasts.

The project site is located in the Central Basin east of the Cascade Mountain Crest.  As such, no soils shall remain exposed and unworked for more than 30 days during the dry season (July 1 to September 30) and 15 days during the wet season (October 1 to June 30).  Regardless of the time of year, all soils shall be stabilized at the end of the shift before a holiday or weekend if needed based on weather forecasts.

In general, cut and fill slopes will be stabilized as soon as possible and soil stockpiles will be temporarily covered with plastic sheeting.  All stockpiled soils shall be stabilized from erosion, protected with sediment trapping measures, and where possible, be located away from storm drain inlets, waterways, and drainage channels.

### 3.1.6	Element #6 – Protect Slopes

All cut and fill slopes will be designed, constructed, and protected in a manner than minimizes erosion.  The following specific BMPs will be used to protect slopes for this project:

No BMPs to be implemented

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description for each selected BMP where and when the BMP will be implemented.

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description why no BMPs will be implemented for this element of the SWPPP.

REQUIRED TEXT

Alternate slope protection BMPs are included in Appendix C as a quick reference tool for the onsite inspector in the event the BMP(s) listed above are deemed ineffective or inappropriate during construction to satisfy the requirements set forth in the General NPDES Permit (Appendix D).  To avoid potential erosion and sediment control issues that may cause a violation(s) of the NPDES Construction Stormwater permit (as provided in Appendix D), the Certified Erosion and Sediment Control Lead will promptly initiate the implementation of one or more of the alternative BMPs listed in Appendix C after the first sign that existing BMPs are ineffective or failing.

### 3.1.7	Element #7 – Protect Drain Inlets

There are no storm drain inlets near the site that could potentially receive surface runoff from the construction site.

All storm drain inlets and culverts made operable during construction shall be protected to prevent unfiltered or untreated water from entering the drainage conveyance system.  However, the first priority is to keep all access roads clean of sediment and keep street wash water separate from entering storm drains until treatment can be provided.  Storm Drain Inlet Protection (BMP C220) will be implemented for all drainage inlets and culverts that could potentially be impacted by sediment-laden runoff on and near the project site.  The following inlet protection measures will be applied on this project:

Drop Inlet Protection

- Excavated Drop Inlet Protection

- Block and Gravel Drop Inlet Protection

- Gravel and Wire Drop Inlet Protection

- Catch Basin Filters

- Alternative BMP not included in the SWMMWW (2005) or SWMMEW (2004)

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

Curb Inlet Protection

- Wooden Weir

- Block and Gravel Curb Inlet Protection

- Alternative BMP not included in the SWMMWW (2005) or SWMMEW (2004)

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

Culvert Inlet Protection

- Culvert Inlet Sediment Trap

- Alternative BMP not included in the SWMMWW (2005) or SWMMEW (2004)

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

If the BMP options listed above are deemed ineffective or inappropriate during construction to satisfy the requirements set forth in the General NPDES Permit (Appendix D), or if no BMPs are listed above but deemed necessary during construction, the Certified Erosion and Sediment Control Lead shall implement one or more of the alternative BMP inlet protection options listed in Appendix C.

### 3.1.8	Element #8 – Stabilize Channels and Outlets

Where site runoff is to be conveyed in channels, or discharged to a stream or some other natural drainage point, efforts will be taken to prevent downstream erosion.  The specific BMPs for channel and outlet stabilization that shall be used on this project include:

No BMPs to be implemented

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description for each selected BMP where and when the BMP will be implemented.

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description why no BMPs will be implemented for this element of the SWPPP.

REQUIRED TEXT

Alternate channel and outlet stabilization BMPs are included in Appendix C as a quick reference tool for the onsite inspector in the event the BMP(s) listed above are deemed ineffective or inappropriate during construction to satisfy the requirements set forth in the General NPDES Permit (Appendix D).  To avoid potential erosion and sediment control issues that may cause a violation(s) of the NPDES Construction Stormwater permit (as provided in Appendix D), the Certified Erosion and Sediment Control Lead will promptly initiate the implementation of one or more of the alternative BMPs listed in Appendix C after the first sign that existing BMPs are ineffective or failing.

The project site is located west of the Cascade Mountain Crest.  As such, all temporary on-site conveyance channels shall be designed, constructed, and stabilized to prevent erosion from the expected peak 10 minute velocity of flow from a Type 1A, 10-year, 24-hour recurrence interval storm for the developed condition.  Alternatively, the 10-year, 1-hour peak flow rate indicated by an approved continuous runoff simulation model, increased by a factor of 1.6, shall be used.  Stabilization, including armoring material, adequate to prevent erosion of outlets, adjacent streambanks, slopes, and downstream reaches shall be provided at the outlets of all conveyance systems.

The project site is located east of the Cascade Mountain Crest.  As such, all temporary on-site conveyance channels shall be designed, constructed, and stabilized to prevent erosion from the expected peak flow velocity of a 2-year, 24-hour recurrence interval storm for the developed condition.  Stabilization, including armoring material, adequate to prevent erosion of outlets, adjacent streambanks, slopes, and downstream reaches shall be provided at the outlets of all conveyance systems.

### 3.1.9	Element #9 – Control Pollutants

All pollutants, including waste materials and demolition debris, that occur onsite shall be handled and disposed of in a manner that does not cause contamination of stormwater.  Good housekeeping and preventative measures will be taken to ensure that the site will be kept clean, well organized, and free of debris.  If required, BMPs to be implemented to control specific sources of pollutants are discussed below.

Vehicles, construction equipment, and/or petroleum product storage/dispensing:

All vehicles, equipment, and petroleum product storage/dispensing areas will be inspected regularly to detect any leaks or spills, and to identify maintenance needs to prevent leaks or spills.

On-site fueling tanks and petroleum product storage containers shall include secondary containment.

Spill prevention measures, such as drip pans, will be used when conducting maintenance and repair of vehicles or equipment.

In order to perform emergency repairs on site, temporary plastic will be placed beneath and, if raining, over the vehicle.

Contaminated surfaces shall be cleaned immediately following any discharge or spill incident.

Chemical storage:

Any chemicals stored in the construction areas will conform to the appropriate source control BMPs listed in Volume IV of the Ecology stormwater manual.  In Western WA, all chemicals shall have cover, containment, and protection provided on site, per BMP C153 for Material Delivery, Storage and Containment in SWMMWW 2005

Application of agricultural chemicals, including fertilizers and pesticides, shall be conducted in a manner and at application rates that will not result in loss of chemical to stormwater runoff. Manufacturers’ recommendations for application procedures and rates shall be followed.

Excavation and tunneling spoils dewatering waste:

Dewatering BMPs and BMPs specific to the excavation and tunneling (including handling of contaminated soils) are discussed under Element 10.

Demolition:

Dust released from demolished sidewalks, buildings, or structures will be controlled using Dust Control measures (BMP C140).

Storm drain inlets vulnerable to stormwater discharge carrying dust, soil, or debris will be protected using Storm Drain Inlet Protection (BMP C220 as described above for Element 7).

Process water and slurry resulting from sawcutting and surfacing operations will be prevented from entering the waters of the State by implementing Sawcutting and Surfacing Pollution Prevention measures (BMP C152).

Concrete and grout:

Process water and slurry resulting from concrete work will be prevented from entering the waters of the State by implementing Concrete Handling measures (BMP C151).

Sanitary wastewater:

Portable sanitation facilities will be firmly secured, regularly maintained, and emptied when necessary.

Wheel wash or tire bath wastewater shall be discharged to a separate on-site treatment system or to the sanitary sewer as part of Wheel Wash implementation (BMP C106).

Solid Waste:

Solid waste will be stored in secure, clearly marked containers.

Other:

Other BMPs will be administered as necessary to address any additional pollutant sources on site.

The facility is transportation-related and therefore not subject to the Federal requirements of the Spill Prevention, Control, and Countermeasure (SPCC) Plan under the Clean Water Act (CWA).  If applicable, the Contractor shall prepare an SPCC Plan according to the Washington State Department of Transportation (WSDOT) Requirements (see the WSDOT Standard Specifications for Road, Bridge, and Municipal Construction 2004).

The facility is not transportation-related and therefore subject to the criteria for determining if a Spill Prevention, Control, and Countermeasure (SPCC) Plan is required under the Federal regulations of the Clean Water Act (CWA).

A SPCC plan is required for this site.

As per the Federal regulations of the Clean Water Act (CWA) and according to Final Rule 40 CFR Part 112, as stated in the National Register, a Spill Prevention, Control, and Countermeasure (SPCC) Plan is required for construction activities.  A SPCC Plan has been prepared to address an approach to prevent, respond to, and report spills or releases to the environment that could result from construction activities.  This Plan must:

Be well thought out in accordance with good engineering;

Achieve three objectives - prevent spills, contain a spill that occurs, and clean up the spill;

Identify the name, location, owner, and type of facility;

Include the date of initial operation and oil spill history;

Name the designated person responsible;

Show evidence of approval and certification by the person in authority; and

Contain a facility analysis.

The facility does not require a Spill Prevention, Control, and Countermeasure (SPCC) Plan under the Federal regulations of the Clean Water Act (CWA).

### 3.1.10	Element #10 – Control Dewatering

There will be no dewatering as part of this construction project.

### 3.1.11	Element #11 – Maintain BMPs

All temporary and permanent erosion and sediment control BMPs shall be maintained and repaired as needed to assure continued performance of their intended function.  Maintenance and repair shall be conducted in accordance with each particular BMPs specifications (attached).  Visual monitoring of the BMPs will be conducted at least once every calendar week and within 24 hours of any stormwater or non-stormwater discharge from the site.  If the site becomes inactive, and is temporarily stabilized, the inspection frequency will be reduced to once every month.

All temporary erosion and sediment control BMPs shall be removed within 30 days after the final site stabilization is achieved or after the temporary BMPs are no longer needed.  Trapped sediment shall be removed or stabilized on site.  Disturbed soil resulting from removal of BMPs or vegetation shall be permanently stabilized.

### 3.1.12	Element #12 – Manage the Project

Erosion and sediment control BMPs for this project have been designed based on the following principles:

Design the project to fit the existing topography, soils, and drainage patterns.

Emphasize erosion control rather than sediment control.

Minimize the extent and duration of the area exposed.

Keep runoff velocities low.

Retain sediment on site.

Thoroughly monitor site and maintain all ESC measures.

Schedule major earthwork during the dry season.

In addition, project management will incorporate the key components listed below:

INSTRUCTIONS

Select the region where construction will occur:

West of Cascade Mountain Crest

East of Cascade Mountain Crest

Text describing the project management components will be automatically inserted into the text.

(West Response) As this project site is located west of the Cascade Mountain Crest, the project will be managed according to the following key project components:

Phasing of Construction

The construction project is being phased to the extent practicable in order to prevent soil erosion, and, to the maximum extent possible, the transport of sediment from the site during construction.

Revegetation of exposed areas and maintenance of that vegetation shall be an integral part of the clearing activities during each phase of construction, per the Scheduling BMP (C 162).

Seasonal Work Limitations

From October 1 through April 30, clearing, grading, and other soil  disturbing activities shall only be permitted if shown to the satisfaction of the local permitting authority that silt-laden runoff will be prevented from leaving the site through a combination of the following:

Site conditions including existing vegetative coverage, slope, soil type, and proximity to receiving waters; and

Limitations on activities and the extent of disturbed areas; and

Proposed erosion and sediment control measures.

Based on the information provided and/or local weather conditions, the local permitting authority may expand or restrict the seasonal limitation on site disturbance.

The following activities are exempt from the seasonal clearing and grading limitations:

Routine maintenance and necessary repair of erosion and sediment control BMPs;

Routine maintenance of public facilities or existing utility structures that do not expose the soil or result in the removal of the vegetative cover to soil; and

Activities where there is 100 percent infiltration of surface water runoff within the site in approved and installed erosion and sediment control facilities.

Coordination with Utilities and Other Jurisdictions

Care has been taken to coordinate with utilities, other construction projects, and the local jurisdiction in preparing this SWPPP and scheduling the construction work.

Inspection and Monitoring

All BMPs shall be inspected, maintained, and repaired as needed to assure continued performance of their intended function.  Site inspections shall be conducted by a person who is knowledgeable in the principles and practices of erosion and sediment control.  This person has the necessary skills to:

Assess the site conditions and construction activities that could impact the quality of stormwater, and

Assess the effectiveness of erosion and sediment control measures used to control the quality of stormwater discharges.

A Certified Erosion and Sediment Control Lead shall be on-site or on-call at all times.

Whenever inspection and/or monitoring reveals that the BMPs identified in this SWPPP are inadequate, due to the actual discharge of or potential to discharge a significant amount of any pollutant, appropriate BMPs or design changes shall be implemented as soon as possible.

Maintaining an Updated Construction SWPPP

This SWPPP shall be retained on-site or within reasonable access to the site.

The SWPPP shall be modified whenever there is a change in the design, construction, operation, or maintenance at the construction site that has, or could have, a significant effect on the discharge of pollutants to waters of the state.

The SWPPP shall be modified if, during inspections or investigations conducted by the owner/operator, or the applicable local or state regulatory authority, it is determined that the SWPPP is ineffective in eliminating or significantly minimizing pollutants in stormwater discharges from the site.  The SWPPP shall be modified as necessary to include additional or modified BMPs designed to correct problems identified.  Revisions to the SWPPP shall be completed within seven (7) days following the inspection. ---

(East Response) As this project site is located east of the Cascade Mountain Crest, the project will be managed according to the following key project components:

Phasing of Construction

The construction project is being phased to the extent practicable in order to prevent, to the maximum extent practicable, the transport of sediment from the development site during construction.  Revegetation of exposed areas and maintenance of that vegetation shall be an integral part of the clearing activities during each phase.

Clearing and grading activities will be conducted only as pursuant to a site development plan approved by the local jurisdiction that establishes permitted areas of clearing, grading, cutting, and filling.  These permitted clearing and grading areas and any other areas required to preserve critical or sensitive areas, buffers, native growth protection easements, or tree retention areas as required by the local jurisdiction, are delineated on the site plans and shall be delineated at the construction site.

Seasonal Work Limitations

The local permitting authority may impose a seasonal limitation on site disturbance.  This decision may be based upon local weather conditions and/or other information provided including site conditions, the extent and nature of the construction activity, and the proposed erosion and sediment control measures.

The following activities are exempt from the seasonal clearing and grading limitations:

Routine maintenance and necessary repair of erosion and sediment control BMPs;

Routine maintenance of public facilities or existing utility structures that do not expose the soil or result in the removal of the vegetative cover to soil; and

Activities where there is 100 percent infiltration of surface water runoff within the site in approved and installed erosion and sediment control facilities.

Coordination with Utilities and Other Contractors

Care has been taken to coordinate with utilities, other construction projects, and the local jurisdiction in preparing this SWPPP and scheduling the construction work.

Inspection and Monitoring

All BMPs shall be inspected, maintained, and repaired as needed to assure continued performance of their intended function.

A Certified Erosion and Sediment Control Lead shall be on-site or on-call at all times.

Sampling and analysis of the stormwater discharges from the construction site may be necessary to ensure compliance with standards.  It is recognized that the local permitting authority may establish monitoring and reporting requirements when necessary.

Whenever inspection and/or monitoring reveals that the BMPs identified in the this SWPPP are inadequate, due to the actual discharge of or potential to discharge a significant amount of any pollutant, the SWPPP shall be modified, as appropriate, in a timely manner.

Maintenance of the Construction SWPPP

This SWPPP shall be retained on-site or within reasonable access to the site.  The SWPPP shall be modified whenever there is a significant change in the design, construction, operation, or maintenance of any BMP. ---

All dewatering water from open cut excavation, tunneling, foundation work, trench, or underground vaults shall be discharged into a controlled conveyance system prior to discharge to a sediment trap or sediment pond.  Channels will be stabilized, per Element #8.  Clean, non-turbid dewatering water will not be routed through stormwater sediment ponds, and will be discharged to systems tributary to the receiving waters of the State in a manner that does not cause erosion, flooding, or a violation of State water quality standards in the receiving water.  Highly turbid dewatering water from soils known or suspected to be contaminated, or from use of construction equipment, will require additional monitoring and treatment as required for the specific pollutants based on the receiving waters into which the discharge is occurring.  Such monitoring is the responsibility of the contractor.

However, the dewatering of soils known to be free of contamination will trigger BMPs to trap sediment and reduce turbidity.  At a minimum, geotextile fabric socks/bags/cells will be used to filter this material.  Other BMPs to be used for sediment trapping and turbidity reduction include the following:

Concrete Handling (BMP C151)

Temporary Sediment Pond (BMP C241)

Construction Stormwater Chemical Treatment (BMP C250)

Construction Stormwater Filtration (BMP C 251)

Infiltration

Use of a sedimentation bag, with outfall to a ditch or swale for small volumes of localized dewatering.

Alternative BMP not included in the SWMMWW (2005) or SWMMEW (2004)

INSTRUCTIONS

Provide a detailed description of the alternative BMP in the required text box below.  Describe where, when, and how it will be applied to the site.  If applicable, provide a drawing of the BMP in Appendix C.  Start the text as “An alternative BMP includes . . . . . . .”

REQUIRED TEXT

INSTRUCTIONS

Provide a detailed description for each selected BMP where and when the BMP will be implemented.

REQUIRED TEXT

Alternate dewatering control BMPs are included in Appendix C as a quick reference tool for the onsite inspector in the event the BMP(s) listed above are deemed ineffective or inappropriate during construction to satisfy the requirements set forth in the General NPDES Permit (Appendix D).  To avoid potential erosion and sediment control issues that may cause a violation(s) of the NPDES Construction Stormwater permit (as provided in Appendix D), the Certified Erosion and Sediment Control Lead will promptly initiate the implementation of one or more of the alternative BMPs listed in Appendix C after the first sign that existing BMPs are ineffective or failing.

### 3.1.11	Element #11 – Maintain BMPs

All temporary and permanent erosion and sediment control BMPs shall be maintained and repaired as needed to assure continued performance of their intended function.  Maintenance and repair shall be conducted in accordance with each particular BMP’s specifications.  Visual monitoring of the BMPs will be conducted at least once every calendar week and within 24 hours of any rainfall event that causes a discharge from the site.  If the site becomes inactive, and is temporarily stabilized, the inspection frequency will be reduced to once every month.

All temporary erosion and sediment control BMPs shall be removed within 30 days after the final site stabilization is achieved or after the temporary BMPs are no longer needed.  Trapped sediment shall be removed or stabilized on site.  Disturbed soil resulting from removal of BMPs or vegetation shall be permanently stabilized.

### 3.1.12	Element #12 – Manage the Project

Erosion and sediment control BMPs for this project have been designed based on the following principles:

Design the project to fit the existing topography, soils, and drainage patterns.

Emphasize erosion control rather than sediment control.

Minimize the extent and duration of the area exposed.

Keep runoff velocities low.

Retain sediment on site.

Thoroughly monitor site and maintain all ESC measures.

Schedule major earthwork during the dry season.

In addition, project management will incorporate the key components listed below:

As this project site is located west of the Cascade Mountain Crest, the project will be managed according to the following key project components:

Phasing of Construction

The construction project is being phased to the extent practicable in order to prevent soil erosion, and, to the maximum extent possible, the transport of sediment from the site during construction.

Revegetation of exposed areas and maintenance of that vegetation shall be an integral part of the clearing activities during each phase of construction, per the Scheduling BMP (C 162).

Seasonal Work Limitations

From October 1 through April 30, clearing, grading, and other soil  disturbing activities shall only be permitted if shown to the satisfaction of the local permitting authority that silt-laden runoff will be prevented from leaving the site through a combination of the following:

Site conditions including existing vegetative coverage, slope, soil type, and proximity to receiving waters; and

Limitations on activities and the extent of disturbed areas; and

Proposed erosion and sediment control measures.

Based on the information provided and/or local weather conditions, the local permitting authority may expand or restrict the seasonal limitation on site disturbance.

The following activities are exempt from the seasonal clearing and grading limitations:

Routine maintenance and necessary repair of erosion and sediment control BMPs;

Routine maintenance of public facilities or existing utility structures that do not expose the soil or result in the removal of the vegetative cover to soil; and

Activities where there is 100 percent infiltration of surface water runoff within the site in approved and installed erosion and sediment control facilities.

Coordination with Utilities and Other Jurisdictions

Care has been taken to coordinate with utilities, other construction projects, and the local jurisdiction in preparing this SWPPP and scheduling the construction work.

Inspection and Monitoring

All BMPs shall be inspected, maintained, and repaired as needed to assure continued performance of their intended function.  Site inspections shall be conducted by a person who is knowledgeable in the principles and practices of erosion and sediment control.  This person has the necessary skills to:

Assess the site conditions and construction activities that could impact the quality of stormwater, and

Assess the effectiveness of erosion and sediment control measures used to control the quality of stormwater discharges.

A Certified Erosion and Sediment Control Lead shall be on-site or on-call at all times.

Whenever inspection and/or monitoring reveals that the BMPs identified in this SWPPP are inadequate, due to the actual discharge of or potential to discharge a significant amount of any pollutant, appropriate BMPs or design changes shall be implemented as soon as possible.

Maintaining an Updated Construction SWPPP

This SWPPP shall be retained on-site or within reasonable access to the site.

The SWPPP shall be modified whenever there is a change in the design, construction, operation, or maintenance at the construction site that has, or could have, a significant effect on the discharge of pollutants to waters of the state.

The SWPPP shall be modified if, during inspections or investigations conducted by the owner/operator, or the applicable local or state regulatory authority, it is determined that the SWPPP is ineffective in eliminating or significantly minimizing pollutants in stormwater discharges from the site.  The SWPPP shall be modified as necessary to include additional or modified BMPs designed to correct problems identified.  Revisions to the SWPPP shall be completed within seven (7) days following the inspection.

As this project site is located east of the Cascade Mountain Crest, the project will be managed according to the following key project components:

Phasing of Construction

The construction project is being phased to the extent practicable in order to prevent, to the maximum extent practicable, the transport of sediment from the development site during construction.  Revegetation of exposed areas and maintenance of that vegetation shall be an integral part of the clearing activities during each phase.

Clearing and grading activities will be conducted only as pursuant to a site development plan approved by the local jurisdiction that establishes permitted areas of clearing, grading, cutting, and filling.  These permitted clearing and grading areas and any other areas required to preserve critical or sensitive areas, buffers, native growth protection easements, or tree retention areas as required by the local jurisdiction, are delineated on the site plans and shall be delineated at the construction site.

Seasonal Work Limitations

The local permitting authority may impose a seasonal limitation on site disturbance.  This decision may be based upon local weather conditions and/or other information provided including site conditions, the extent and nature of the construction activity, and the proposed erosion and sediment control measures.

The following activities are exempt from the seasonal clearing and grading limitations:

Routine maintenance and necessary repair of erosion and sediment control BMPs;

Routine maintenance of public facilities or existing utility structures that do not expose the soil or result in the removal of the vegetative cover to soil; and

Activities where there is 100 percent infiltration of surface water runoff within the site in approved and installed erosion and sediment control facilities.

Coordination with Utilities and Other Contractors

Care has been taken to coordinate with utilities, other construction projects, and the local jurisdiction in preparing this SWPPP and scheduling the construction work.

Inspection and Monitoring

All BMPs shall be inspected, maintained, and repaired as needed to assure continued performance of their intended function.

A Certified Erosion and Sediment Control Lead shall be on-site or on-call at all times.

Sampling and analysis of the stormwater discharges from the construction site may be necessary to ensure compliance with standards.  It is recognized that the local permitting authority may establish monitoring and reporting requirements when necessary.

Whenever inspection and/or monitoring reveals that the BMPs identified in the this SWPPP are inadequate, due to the actual discharge of or potential to discharge a significant amount of any pollutant, the SWPPP shall be modified, as appropriate, in a timely manner.

Maintenance of the Construction SWPPP

This SWPPP shall be retained on-site or within reasonable access to the site.  The SWPPP shall be modified whenever there is a significant change in the design, construction, operation, or maintenance of any BMP.

## 3.2	Site Specific BMPs

Site specific BMPs are shown on the TESC Plan Sheets and Details in Appendix A.  These site specific plan sheets will be updated annually.

## 3.3	Additional Advanced BMPs

INSTRUCTIONS

The following BMPs are advanced and are only recommended if construction activities are complex enough to warrant them; or if the site has the potential for significant impacts to water quality.  The following BMPs are directed at “end-of-pipe” treatment for sedimentation issues related to turbid runoff from construction sites.  Effective BMPs are most often the simple BMPs, and focus on the minimization of erosion before sedimentation is an issue.  The following BMPs will most likely be implemented only after other BMP options are exhausted, or if the construction activity is large and off-site sedimentation or turbid runoff occurs or is inevitable.

For BMP 250, written pre-approval, through Ecology is required (see SWMMWW 2005):

BMP C250: Construction Stormwater Chemical Treatment

BMP C251: Construction Stormwater Filtration.

# 4.0	Construction Phasing and BMP Implementation

INSTRUCTIONS

The following section requires site specific information based on the BMPs selected in Section 3.  Some upfront schedule information was input from the SWPPP Wizard, but additional site-specific dates and scheduling information is required.  This section must convey key information on the project schedule and how the BMPs will be implemented within the schedule.

The initial text and bullet list in this section is standard; however, BMP implementation will depend on site-specific construction activities.  The latter part of this section provides example text that is specific to a particular site and that cannot be simply copied and reused, but that may be copied into the “Required Text” area and then edited as necessary.

For the grey shade text boxes, text inserts are required.  Click the text box to highlight the ENTIRE grey area, then type in text.

The BMP implementation schedule will be driven by the construction schedule.  The following provides a sequential list of the proposed construction schedule milestones and the corresponding BMP implementation schedule.  The list contains key milestones such as wet season construction.

The BMP implementation schedule listed below is keyed to proposed phases of the construction project, and reflects differences in BMP installations and inspections that relate to wet season construction.  The project site is located west of the Cascade Mountain Crest.  As such, the dry season is considered to be from May 1 to September 30 and the wet season is considered to be from October 1 to April 30.

The BMP implementation schedule listed below is keyed to proposed phases of the construction project, and reflects differences in BMP installations and inspections that relate to wet season construction.  The project site is located east of the Cascade Mountain Crest.  As such, the dry season is considered to be from July 1 to September 30 and the wet season is considered to be from October 1 to June 30.

Estimate of Construction start date:				~

Estimate of Construction finish date:				~

Mobilize equipment on site:					~

Mobilize and store all ESC and soil stabilization products:	~

Install ESC measures:						~

Install stabilized construction entrance:			~

Begin clearing and grubbing:

INSTRUCTIONS

The remaining schedule of BMP implementation must be written by the applicant.  See the example text below for the entire schedule list completed for a hypothetical project.

REQUIRED TEXT

EXAMPLE TEXT

The BMP implementation schedule is driven by the construction schedule.  The following provides a sequential list of the proposed construction schedule milestones and the corresponding BMP implementation schedule.  The list contains key milestones such as wet season construction.

BMP implementation schedule listed below is keyed to proposed phases of the construction project, and reflects differences in BMP installations and inspections that relate to wet season construction.  The project site is located west of the Cascade Mountain Crest.  As such, the dry season is considered to be from May 1 to September 30 and the wet season is considered to be from October 1 to April 30.

Estimate of Construction start date:				05 / 15 / 2005

Estimate of Construction finish date:				09 / 12 / 2006

Mobilize equipment on site:					05 / 15 / 2005

Mobilize and store all ESC and soil stabilization products 
(store materials on hand BMP C150):			05 / 15 / 2005

Install ESC measures:						05 / 17 / 2005

Install stabilized construction entrance:			05 / 19 / 2005

Begin clearing and grubbing:					05 / 20 / 2005

Demolish existing one-story building structure:		05 / 21 / 2005

Excavation for building foundations				05 / 26 / 2005

Soil stabilization on excavated sideslopes (in idle, no 
work areas as shown on ESC plans)				05 / 29 / 2005

Temporary erosion control measures (hydroseeding)		05 / 29 / 2005

Site inspections reduced to monthly:				06 / 08 / 2005

Begin concrete pour and implement BMP C151:		06 / 08 / 2005

Excavate and install new utilities and services (Phase 1):	06 / 15 / 2005

Begin building construction:					07 / 10 / 2005

Complete Phase 1 utility construction			08 / 28 / 2005

Begin implementing soil stabilization and sediment 
control BMPs throughout the site in preparation for wet 
season:								09 / 24 / 2005

Wet Season starts:						10 / 01 / 2005

Site inspections and monitoring conducted weekly and 
for applicable rain events as detailed in Section 6 of this 
SWPPP:							10 / 01 / 2005

Implement Element #12 BMPs and manage site to 
minimize soil disturbance during the wet season		10 / 01 / 2005

No site work such as grading or excavation planned:

Dry Season starts:						05 / 01 / 2005

Site grading begins:						07 / 20 / 2006

Excavate and install new utilities and services (Phase 2):	07 / 27 / 2005

Site grading ends:						08 / 20 / 2005

Building construction complete: 				08 / 24 / 2005

Final landscaping and planting begins:			08 / 24 / 2005

Permanent erosion control measures (hydroseeding):	09 / 12 / 2005

# 5.0 Pollution Prevention Team

INSTRUCTIONS

Each site is required to have a Pollution Prevention Team.

Ensure the table below is complete and correct based on inputs into the SWPPP Wizard such as the name and phone number of each member of the Pollution Prevention Team.

Each position on the Pollution Prevention Team must be assigned.

## 5.1	Roles and Responsibilities

The pollution prevention team consists of personnel responsible for implementation of the SWPPP, including the following:

Certified Erosion and Sediment Control Lead (CESCL) – primary contractor contact, responsible for site inspections (BMPs, visual monitoring, sampling, etc.); to be called upon in case of failure of any ESC measures.

Resident Engineer – For projects with engineered structures only (sediment ponds/traps, sand filters, etc.): site representative for the owner that is the project's supervising engineer responsible for inspections and issuing instructions and drawings to the contractor's site supervisor or representative

Emergency Ecology Contact – individual to be contacted at Ecology in case of emergency.  Go to the following website to get the name and number for the Ecology contact information: http://www.ecy.wa.gov/org.html.

Emergency Owner Contact – individual that is the site owner or representative of the site owner to be contacted in the case of an emergency.

Non-Emergency Ecology Contact – individual that is the site owner or representative of the site owner than can be contacted if required.

Monitoring Personnel – personnel responsible for conducting water quality monitoring; for most sites this person is also the Certified Erosion and Sediment Control Lead.

## 5.2	Team Members

Names and contact information for those identified as members of the pollution prevention team are provided in the following table.

| Title | Name(s) | Phone Number |
| --- | --- | --- |
| Certified Erosion and Sediment Control Lead (CESCL) | ~ | ~ |
| Resident Engineer | ~ | ~ |
| Emergency Ecology Contact | ~ | ~ |
| Emergency Owner Contact | ~ | ~ |
| Non-Emergency Ecology Contact | ~ | ~ |
| Monitoring Personnel | ~ | ~ |

# 6.0	Site Inspections and Monitoring

INSTRUCTIONS

Monitoring requirements are based on thresholds for the size of the site and the amount of disturbance that will occur during construction.  Below includes standard text and automatically inserted text based on your response to the questions in the Wizard.

For most of this section, there is no required text to be written or selected.  The text will be inserted based on your responses to the questions in the SWPPP Wizard.

Make sure all questions were answered in the Wizard.

There may be some required text to be inserted if Ecology has instructed the applicant to perform special monitoring.

Monitoring includes visual inspection, monitoring for water quality parameters of concern, and documentation of the inspection and monitoring findings in a site log book.  A site log book will be maintained for all on-site construction activities and will include:

A record of the implementation of the SWPPP and other permit requirements;

Site inspections; and,

Stormwater quality monitoring.

For convenience, the inspection form and water quality monitoring forms included in this SWPPP include the required information for the site log book.  This SWPPP may function as the site log book if desired, or the forms may be separated and included in a separate site log book.  However, if separated, the site log book but must be maintained on-site or within reasonable access to the site and be made available upon request to Ecology or the local jurisdiction.

## 6.1	Site Inspection

All BMPs will be inspected, maintained, and repaired as needed to assure continued performance of their intended function.  Site inspections will be conducted by a person who is knowledgeable in the principles and practices of erosion and sediment control.  The onsite inspector will have the skills to assess the potential for water quality impacts as a result of the type of construction activities occurring on site, and the knowledge of the appropriate and effective ESC measures needed to control the quality of stormwater discharges.

All BMPs will be inspected, maintained, and repaired as needed to assure continued performance of their intended function.  The inspector will be a Certified Erosion and Sediment Control Lead (CESCL) per BMP C160.  The name and contact information for the CESCL is provided in Section 5 of this SWPPP.

Site inspection will occur in all areas disturbed by construction activities and at all stormwater discharge points.  Stormwater will be examined for the presence of suspended sediment, turbidity, discoloration, and oily sheen.  The site inspector will evaluate and document the effectiveness of the installed BMPs and determine if it is necessary to repair or replace any of the BMPs to improve the quality of stormwater discharges.  All maintenance and repairs will be documented in the site log book or forms provided in this document.  All new BMPs or design changes will be documented in the SWPPP as soon as possible.

### 6.1.1	Site Inspection Frequency

Site inspections will be conducted at least once a week and within 24 hours following any discharge from the site.  For sites with temporary stabilization measures, the site inspection frequency can be reduced to once every month.

### 6.1.2	Site Inspection Documentation

The site inspector will record each site inspection using the site log inspection forms provided in Appendix E.  The site inspection log forms may be separated from this SWPPP document, but will be maintained on-site or within reasonable access to the site and be made available upon request to Ecology or the local jurisdiction.

## 6.2	Stormwater Quality Monitoring

The construction site is less than one acre in size, and does not discharge to an impaired water body, and is therefore not subject to the general water quality monitoring requirements set forth in the 2005 Construction Stormwater General Permit (Appendix D).

The proposed site development has a specific water quality requirements because the site discharges to a water body listed as impaired under Section 303(d) of the Clean Water Act.  The following text describes the site-specific monitoring for the proposed development.

INSTRUCTIONS

IMPORTANT!: The proposed development site discharges runoff to an impaired water body that is identified on the State’s Section 303(d) list.  The applicant must monitor for the parameter(s) of concern and document monitoring result in the site log book during construction that no further impacts to the water quality parameter(s) of concern in the water body will occur, or that the discharge is consistent with the TDML or control plan requirements set forth for the specific downstream water body (see sections S1.D5, S1.D6, and S4.G2 of the Construction Stormwater General Permit).

Provide a description of the water body and the parameters of concern.

Describe the water quality parameters of concern in separate sections in the following text (i.e. start with section 6.2.1) for each parameter on the 303(d) list.

Refer to permit section S4.G in Appendix D for sampling procedures and guidance manual references.

The following provides an “EXAMPLE TEXT” section, then an area labeled “REQUIRED TEXT” for the applicant to insert text specific to the monitoring requirements for the site.

EXAMPLE TEXT

### 6.2.1	Turbidity

Site discharge during construction will drain to Salmon Creek in Clark County, Washington.  Salmon Creek is listed on the Clean Water Act Section 303(d) list as impaired for turbidity under listing ID #7030.  Turbidity in Salmon Creek downstream of the site discharge point will be monitored daily and compared to turbidity measurements in Salmon Creek upstream of the discharge point where runoff from the construction site enters Salmon Creek.  The two sample locations will be:

Sample Location B.	In Salmon Creek upstream of the storm drain discharge near the property boundary of Salmon Creek Park.  This sample location represents upstream background turbidity.

Sample Location C.	In Salmon Creek 20 feet downstream of the storm drain discharge.  This sample location represents turbidity downstream of the discharge point to Salmon Creek.

Samples will be analyzed for turbidity using the EPA 180.1 analytical method.  If the turbidity in Salmon Creek at Location 2 is 5 NTU higher than the upstream turbidity in Salmon Creek at Location 1, the following steps will be conducted:

- Ensure all BMPs specified in this SWPPP are installed and functioning as intended.

- Assess whether additional BMPs to avoid erosion such as soil stabilization, or nets and blankets (BMP C122) should be implemented and whether revisions to the SWPPP is necessary.

- Immediately initiate more extensive sediment controls BMPs such as sedimentation trap, sediment pond, or filtration and implement BMPs if erosion control BMPs are not sufficient.

- Notify Ecology by phone within 24 hours of analysis (see Section 5.0 of this SWPPP for contact information).

- Continue daily sampling.

- Describe inspection results and remedial actions taken in the site log book and in the monthly discharge monitoring report as described in Section 7.0 of this SWPPP.

REQUIRED TEXT

INSTRUCTIONS

IMPORTANT!: The proposed construction site discharges to an impaired water body on the Section 303(d) list.  The applicant must monitor for the parameter(s) of concern and document monitoring result in the site log book during construction that no further impacts to the water quality parameter(s) of concern will occur, or that the discharge is consistent with the TDML or control plan requirements set forth for the specific downstream water body (see sections S1.D5, S1.D6, and S4.G2 of the Construction Stormwater General Permit).

Refer to permit section S4.G for sampling procedures and guidance manual references.

The following provides an example text section.  Each site will have site-specific monitoring and compliance standards based on water body parameter(s) of concern, local basin plan requirements, or TMDL requirements.  This is only an example.  The applicant is required to insert site specific text in the area labeled “REQUIRED TEXT”.

EXAMPLE TEXT

### 6.2.1	Turbidity

Turbidity sampling and monitoring will be conducted during the entire construction phase of the project.  Samples will be collected daily at the catch basin in the northwest corner of the site (CB5).  If there is no flow in this catch basin, the attempt to sample will be recorded in the site log book and reported to Ecology in the monthly Discharge Monitoring Report (DMR) as “No Discharge”.  Samples will be analyzed for turbidity using the EPA 180.1 analytical method.

The key benchmark turbidity value is 25 nephelometric turbidity units (NTU) for the downstream receiving water body.  If the 25 NTU benchmark is exceeded in any sample collected from CB5, the following steps will be conducted:

- Ensure all BMPs specified in this SWPPP are installed and functioning as intended.

- Assess whether additional BMPs should be implemented, and document modified BMPs in the SWPPP as necessary.

- Sample discharge daily until the discharge is 25 NTU or lower.

If the turbidity exceeds 250 NTU at any time, the following steps will be conducted:

- Notify Ecology by phone within 24 hours of analysis (see Section 5.0 of this SWPPP for contact information).

- Continue sampling daily until the discharge is 25 NTU or lower Initiate additional treatment BMPs such as off-site treatment, infiltration, filtration and chemical treatment within 24 hours, and implement those additional treatment BMPs as soon as possible, but within a minimum of 7 days.

- Describe inspection results and remedial actions taken in the site log book and in monthly discharge monitoring reports as described in Section 7.0 of this SWPPP.

REQUIRED TEXT

### 6.2.1	Turbidity Sampling

### 6.2.1	Turbidity Sampling

Monitoring requirements for the proposed project will include either turbidity or water transparency sampling to monitor site discharges for water quality compliance with the 2005 Construction Stormwater General Permit (Appendix D).  Sampling will be conducted at all discharge points at least once per calendar week.

Turbidity or transparency monitoring will follow the analytical methodologies described in Section S4 of the 2005 Construction Stormwater General Permit (Appendix D).  The key benchmark values that require action are 25 NTU for turbidity (equivalent to 32 cm transparency) and 250 NTU for turbidity (equivalent to 6 cm transparency).  If the 25 NTU benchmark for turbidity (equivalent to 32 cm transparency) is exceeded, the following steps will be conducted:

- Ensure all BMPs specified in this SWPPP are installed and functioning as intended.

- Assess whether additional BMPs should be implemented, and document revisions to the SWPPP as necessary.

- Sample discharge location daily until the analysis results are less than 25 NTU (turbidity) or greater than 32 cm (transparency).

If the turbidity is greater than 25 NTU (or transparency is less than 32 cm) but less than 250 NTU (transparency greater than 6 cm) for more than 3 days, additional treatment BMPs will be implemented within 24 hours of the third consecutive sample that exceeded the benchmark value.  Additional treatment BMPs to be considered will include, but are not limited to, off-site treatment, infiltration, filtration and chemical treatment.

If the 250 NTU benchmark for turbidity (or less than 6 cm transparency) is exceeded at any time, the following steps will be conducted:

- Notify Ecology by phone within 24 hours of analysis (see Section 5.0 of this SWPPP for contact information).

- Continue daily sampling until the turbidity is less than 25 NTU (or transparency is greater than 32 cm).

- Initiate additional treatment BMPs such as off-site treatment, infiltration, filtration and chemical treatment within 24 hours of the first 250 NTU exceedance.

- Implement additional treatment BMPs as soon as possible, but within 7 days of the first 250 NTU exceedance.

- Describe inspection results and remedial actions taken in the site log book and in monthly discharge monitoring reports as described in Section 7.0 of this SWPPP.

### 6.2.1	Turbidity Sampling

Monitoring requirements for the proposed project will include either turbidity or water transparency sampling to monitor site discharges for water quality compliance with the 2005 Construction Stormwater General Permit (Appendix D). Sampling will be conducted at all discharge points at least once per calendar week.

Turbidity or transparency monitoring will follow the analytical methodologies described in Section S4 of the 2005 Construction Stormwater General Permit (Appendix D).  The key benchmark values that require action are 25 NTU for turbidity (equivalent to 32 cm transparency) and 250 NTU for turbidity (equivalent to 6 cm transparency).  If the 25 NTU benchmark for turbidity (equivalent to 32 cm transparency) is exceeded, the following steps will be conducted:

- Ensure all BMPs specified in this SWPPP are installed and functioning as intended.

- Assess whether additional BMPs should be implemented, and document revisions to the SWPPP as necessary.

- Sample discharge location daily until the analysis results are less than 25 NTU (turbidity) or greater than 32 cm (transparency).

If the turbidity is greater than 25 NTU (or transparency is less than 32 cm) but less than 250 NTU (transparency greater than 6 cm) for more than 3 days, additional treatment BMPs will be implemented within 24 hours of the third consecutive sample that exceeded the benchmark value.  Additional treatment BMPs to be considered will include, but are not limited to, off-site treatment, infiltration, filtration and chemical treatment.

If the 250 NTU benchmark for turbidity (or less than 6 cm transparency) is exceeded at any time, the following steps will be conducted:

- Notify Ecology by phone within 24 hours of analysis (see Section 5.0 of this SWPPP for contact information).

- Continue daily sampling until the turbidity is less than 25 NTU (or transparency is greater than 32 cm).

- Initiate additional treatment BMPs such as off-site treatment, infiltration, filtration and chemical treatment within 24 hours of the first 250 NTU exceedance.

- Implement additional treatment BMPs as soon as possible, but within 7 days of the first 250 NTU exceedance.

- Describe inspection results and remedial actions taken in the site log book and in monthly discharge monitoring reports as described in Section 7.0 of this SWPPP.

### 6.2.1	Turbidity Sampling

Monitoring requirements for the proposed project will include either turbidity or water transparency sampling to monitor site discharges for water quality compliance with the 2005 Construction Stormwater General Permit (Appendix D). Sampling will be conducted at all discharge points at least once per calendar week.

Turbidity or transparency monitoring will follow the analytical methodologies described in Section S4 of the 2005 Construction Stormwater General Permit (Appendix D).  The key benchmark values that require action are 25 NTU for turbidity (equivalent to 32 cm transparency) and 250 NTU for turbidity (equivalent to 6 cm transparency).  If the 25 NTU benchmark for turbidity (equivalent to 32 cm transparency) is exceeded, the following steps will be conducted:

- Ensure all BMPs specified in this SWPPP are installed and functioning as intended.

- Assess whether additional BMPs should be implemented, and document revisions to the SWPPP as necessary.

- Sample discharge location daily until the analysis results are less than 25 NTU (turbidity) or greater than 32 cm (transparency).

If the turbidity is greater than 25 NTU (or transparency is less than 32 cm) but less than 250 NTU (transparency greater than 6 cm) for more than 3 days, additional treatment BMPs will be implemented within 24 hours of the third consecutive sample that exceeded the benchmark value.  Additional treatment BMPs to be considered will include, but are not limited to, off-site treatment, infiltration, filtration and chemical treatment.

If the 250 NTU benchmark for turbidity (or less than 6 cm transparency) is exceeded at any time, the following steps will be conducted:

- Notify Ecology by phone within 24 hours of analysis (see Section 5.0 of this SWPPP for contact information).

- Continue daily sampling until the turbidity is less than 25 NTU (or transparency is greater than 32 cm).

- Initiate additional treatment BMPs such as off-site treatment, infiltration, filtration and chemical treatment within 24 hours of the first 250 NTU exceedance.

- Implement additional treatment BMPs as soon as possible, but within 7 days of the first 250 NTU exceedance.

- Describe inspection results and remedial actions taken in the site log book and in monthly discharge monitoring reports as described in Section 7.0 of this SWPPP.

### 6.2.1	Turbidity Sampling

Monitoring requirements for the proposed project will include turbidity sampling to monitor site discharges for water quality compliance with the 2005 Construction Stormwater General Permit (Appendix D).  Sampling will be conducted at all site discharge points at least once per calendar week.

Turbidity monitoring will follow the analytical methodologies described in Section S4 of the 2005 Construction Stormwater General Permit (Appendix D).  The key benchmark values that require action include 25 NTU and 250 NTU for turbidity.  If the 25 NTU benchmark for turbidity is exceeded, the following steps will be conducted:

- Ensure all BMPs specified in this SWPPP are installed and functioning as intended.

- Assess whether additional BMPs should be implemented and make revisions to the SWPPP as necessary.

- Sample the discharge location daily until the analysis results are less than 25 NTU (turbidity) or 32 cm (transparency).

If the turbidity is greater than 25 NTU but less than 250 NTU for more than 3 days, additional treatment BMPs will be implemented within 24 hours of the third consecutive sample that exceeded the benchmark value.  Additional treatment BMPs will include, but are not limited to, off-site treatment, infiltration, filtration and chemical treatment.

If the 250 NTU benchmark for turbidity is exceeded at any time, the following steps will be conducted:

- Notify Ecology by phone within 24 hours of analysis.

- Continue daily sampling until the turbidity is less than 25 NTU.

- Initiate additional treatment BMPs such as off-site treatment, infiltration, filtration and chemical treatment within 24 hours of the first 250 NTU exceedance.

- Implement additional treatment BMPs as soon as possible, but within 7 days of the first 250 NTU exceedance.

- Describe inspection results and remedial actions that are taken in the site log book and in monthly discharge monitoring reports.

### 6.2.2	pH Sampling

Stormwater runoff will be monitored for pH starting on the first day of any activity that includes more than 40 yards of poured or recycled concrete, or after the application of “Engineered Soils” such as, Portland cement treated base, cement kiln dust, or fly ash.  This does not include fertilizers.  For concrete work, pH monitoring will start the first day concrete is poured and continue until 3 weeks after the last pour.  For engineered soils, the pH monitoring period begins when engineered soils are first exposed to precipitation and continue until the area is fully stabilized.

Stormwater samples will be collected daily from all points of discharge from the site and measured for pH using a calibrated pH meter, pH test kit, or wide range pH indicator paper.  If the measured pH is 8.5 or greater, the following steps will be conducted:

- Prevent the high pH water from entering storm drains or surface water.

- Adjust or neutralize the high pH water if necessary using appropriate technology such as CO2 sparging (liquid or dry ice).

- Contact Ecology if chemical treatment other than CO2 sparging is planned.

### 6.2.2	pH Sampling

Stormwater runoff will be monitored for pH starting on the first day of any activity that includes more than 40 yards of poured or recycled concrete, or after the application of “Engineered Soils” such as, Portland cement treated base, cement kiln dust, or fly ash.  This does not include fertilizers.  For engineered soils, the pH monitoring period begins when engineered soils are first exposed to precipitation and continue until the area is fully stabilized.

Stormwater samples will be collected daily from all points of discharge from the site and measured for pH using a calibrated pH meter, pH test kit, or wide range pH indicator paper.  If the measured pH is 8.5 or greater, the following steps will be conducted:

- Prevent the high pH water from entering storm drains or surface water.

- Adjust or neutralize the high pH water if necessary using appropriate technology such as CO2 sparging (liquid or dry ice).

- Contact Ecology if chemical treatment other than CO2 sparging is planned.

INSTRUCTIONS

IMPORTANT!: The proposed construction site discharges to an impaired water body on the Section 303(d) list.  The applicant must monitor for the parameter(s) of concern and document monitoring result in the site log book during construction that no further impacts to pH in the water body will occur, or that the discharge is consistent with the TDML or control plan requirements set forth for the specific downstream water body (see sections S1.D5, S1.D6, and S4.G2 of the Construction Stormwater General Permit).

Refer to permit section S4.G in Appendix D for sampling procedures and guidance manual references.

The following provides an example text section based on a pH TMDL of 8.0.  Each site will have site-specific monitoring and compliance standards based on the water body parameter(s) of concern, applicable basin plan, or TMDL.  This is only an example.  The applicant is required to insert site specific text in the area labeled “REQUIRED TEXT”.

EXAMPLE TEXT

### 6.2.2	pH

Sampling and monitoring for pH will occur during the phase of construction when concrete pouring will be conducted until fully cured (3 weeks from last pour) and discharges are documented to be below pH 8.5.  Samples will be collected weekly at the sedimentation pond prior to discharge to surface water.  Samples will be analyzed for pH using a calibrated pH meter and recorded in the site log book.

The key benchmark pH value for stormwater is a maximum of 8.5.  If a pH greater than 8.5 is measured in the sedimentation trap/pond(s) that has the potential to discharge to surface water, the following steps will be conducted:

- Prevent (detain) all discharges from leaving the site and entering surface waters or storm drains if the pH is greater than 8.5

- Implement CO2 sparging or dry ice treatment in accordance with Ecology BMP C252.

- Describe inspection results and remedial actions that are taken in the site log book and in monthly discharge monitoring reports as described in Section 7.0 of this SWPPP.

REQUIRED TEXT

### 6.2.2	pH Sampling

INSTRUCTIONS

IMPORTANT!: The proposed construction site discharges to an impaired water body on the Section 303(d) list.  The applicant must monitor for the parameter(s) of concern and document monitoring result in the site log book during construction that no further impacts to pH in the water body will occur, or that the discharge is consistent with the TDML or control plan requirements set forth for the specific downstream water body (see sections S1.D5, S1.D6, and S4.G2 of the Construction Stormwater General Permit).

Describe each parameter of concern that has a TMDL and monitoring requirements in a separate section (i.e., 6.2.xx).

Refer to permit section S4.G in Appendix D for sampling procedures and guidance manual references.

EXAMPLE TEXT

### 6.2.3	Temperature

Site discharge during construction will drain to Swamp Creek in Kenmore, Washington.  Swamp Creek is listed on the Clean Water Act Section 303(d) list as impaired for temperature under listing ID #7030.  Temperatures in Swamp Creek downstream of the site discharge point will be monitored a minimum of two times per week and compared to temperature measurements in Swamp Creek upstream of the discharge point where runoff from the construction site enters Swamp Creek.  The two sample locations will be:

Sample Location 1.	In Swamp Creek upstream of the storm drain discharge, directly downstream of the NE Bothell Way bridge.  This sample location represents upstream background temperatures.

Sample Location 2.	In Swamp Creek 20 feet downstream of the storm drain discharge (35 feet downstream of the NE Bothell Way bridge).  This sample location represents temperatures downstream of the discharge point to Swamp Creek.

Temperature monitoring will be conducted using a calibrated temperature meter.  If the temperature in Swamp Creek at Location 2 is higher than the upstream temperature in Swamp Creek at Location 1, the following steps will be conducted:

- Ensure all BMPs specified in this SWPPP are installed and functioning as intended.

- Assess whether additional BMPs such as relocation or shading of the sedimentation tank should be implemented and revisions to the SWPPP are necessary.

- Record and report temperatures in the Discharge Monitoring Report (DMR) as described in Section 7.0 of this SWPPP.

If the downstream temperature readings in Swamp Creek are greater than 1 degree Fahrenheit higher than the temperatures upstream of the discharge point, the following steps will be conducted:

- Notify Ecology by phone within 24 hours of analysis (see Section 5.0 of this SWPPP for contact information).

- Immediately initiate additional treatment BMPs such as providing shade to the temporary sedimentation trap, or relocating the uncovered sedimentation tank to a shaded area.

- Continue daily sampling until the temperature difference between sample Location 1 and sample Location 2 is less than 1 degree Fahrenheit.

- Describe inspection results and remedial actions taken in the site log book and in the monthly discharge monitoring report as described in Section 7.0 of this SWPPP.

REQUIRED TEXT

# 7.0	Reporting and Recordkeeping

## 7.1	Recordkeeping

### 7.1.1	Site Log Book

A site log book will be maintained for all on-site construction activities and will include:

A record of the implementation of the SWPPP and other permit requirements;

Site inspections; and,

Stormwater quality monitoring.

INSTRUCTIONS

This SWPPP may function as the site log book if the project has minimal monitoring requirements or construction duration is shorter than 2 to 3 months.  The appendices can include multiple copies of the blank checklists and inspection forms as needed to supplement for the site log book.  This is recommended for smaller, simple construction sites.  This is the flexible and depends on the preference of the applicant.  If the duration of the project is greater than 2 to 3 months or if there is significant monitoring requirements, it is recommended that a separate site log be maintained incorporating the example forms provided in this SWPPP Template document.

Provide a brief explanation in the “Required Text” box below if the site log book is attached to the SWPPP or maintained in a separate site log book.

For convenience, the inspection form and water quality monitoring forms included in this SWPPP include the required information for the site log book.

REQUIRED TEXT

### 7.1.2	Records Retention

Records of all monitoring information (site log book, inspection reports/checklists, etc.), this Stormwater Pollution Prevention Plan, and any other documentation of compliance with permit requirements will be retained during the life of the construction project and for a minimum of three years following the termination of permit coverage in accordance with permit condition S5.C.

### 7.1.3	Access to Plans and Records

The SWPPP, General Permit, Notice of Authorization letter, and Site Log Book will be retained on site or within reasonable access to the site and will be made immediately available upon request to Ecology or the local jurisdiction.  A copy of this SWPPP will be provided to Ecology within 14 days of receipt of a written request for the SWPPP from Ecology.  Any other information requested by Ecology will be submitted within a reasonable time.  A copy of the SWPPP or access to the SWPPP will be provided to the public when requested in writing in accordance with permit condition S5.G.

### 7.1.4	Updating the SWPPP

In accordance with Conditions S3, S4.B, and S9.B.3 of the General Permit, this SWPPP will be modified if the SWPPP is ineffective in eliminating or significantly minimizing pollutants in stormwater discharges from the site or there has been a change in design, construction, operation, or maintenance at the site that has a significant effect on the discharge, or potential for discharge, of pollutants to the waters of the State.  The SWPPP will be modified within seven days of determination based on inspection(s) that additional or modified BMPs are necessary to correct problems identified, and an updated timeline for BMP implementation will be prepared.

## 7.2	Reporting

### 7.2.1	Discharge Monitoring Reports

[Prior to October 2008] If cumulative soil disturbance is smaller than 5 acres: Discharge Monitoring Report (DMR) forms will not be submitted to Ecology because water quality sampling is not being conducted at the site.

If cumulative soil disturbance is 5 acres or larger: Discharge Monitoring Reports (DMRs) will be submitted to Ecology monthly. Of there was no discharge during a given monitoring period, the Permittee shall submit the form as required, with the words “No discharge” entered in the place of monitoring results. The DMR due date is 15 days following the end of each month.

Water quality sampling results will be submitted to Ecology monthly on Discharge Monitoring Report (DMR) forms in accordance with permit condition S5.B.  If there was no discharge during a given monitoring period, the form will be submitted with the words “no discharge” entered in place of the monitoring results.  If a benchmark was exceeded, a brief summary of inspection results and remedial actions taken will be included.  If sampling could not be performed during a monitoring period, a DMR will be submitted with an explanation of why sampling could not be performed.

### 7.2.2	Notification of Noncompliance

If any of the terms and conditions of the permit are not met, and it causes a threat to human health or the environment, the following steps will be taken in accordance with permit section S5.F:

- Ecology will be immediately notified of the failure to comply.

- Immediate action will be taken to control the noncompliance issue and to correct the problem.  If applicable, sampling and analysis of any noncompliance will be repeated immediately and the results submitted to Ecology within five (5) days of becoming aware of the violation.

- A detailed written report describing the noncompliance will be submitted to Ecology within five (5) days, unless requested earlier by Ecology.

Any time turbidity sampling indicates turbidity is 250 nephelometric turbidity units (NTU) or greater or water transparency is 6 centimeters or less, the Ecology regional office will be notified by phone within 24 hours of analysis as required by permit condition S5.A (see Section 5.0 of this SWPPP for contact information).

In accordance with permit condition S4.F.6.b, the Ecology regional office will be notified if chemical treatment other than CO2 sparging is planned for adjustment of high pH water (see Section 5.0 of this SWPPP for contact information).

INSTRUCTIONS

In the text box below, describe what is being sampled, the benchmark value for compliance/non-compliance, and any special notification requirements.

REQUIRED TEXT

### Permit Application and Changes

In accordance with permit condition S2.A, a complete application form will be submitted to Ecology and the appropriate local jurisdiction (if applicable) to be covered by the General Permit.

## Appendix A – Site Plans

INSTRUCTIONS

- Prepare a vicinity map or general location map (e.g. USGS Quadrangle map, a portion of a county or city map, or other appropriate map) with enough detail to identify the location of the construction site and receiving waters within one mile of the site.

- Prepare a legible site map(s) or detailed site plan(s) and place into this appendix.   The site plan or map should show the entire construction site with the following information:

- the direction of north, property lines, and existing structures and roads;

- cut and fill slopes indicating the top and bottom of slope catch lines;

- approximate slopes, contours, and direction of stormwater flow before and after major grading activities;

- areas of soil disturbance and areas that will not be disturbed;

- locations of structural and nonstructural controls (BMPs) identified in the SWPPP;

- locations of off-site material, stockpiles, waste storage, borrow areas, and vehicle/equipment storage areas;

- locations of all surface water bodies, including wetlands;

- locations where stormwater or non-stormwater discharges off-site and/or to a surface water body, including wetlands;

- location of water quality sampling station(s), if sampling is required in the NPDES permit or by the local permitting authority; and

- areas where final stabilization has been accomplished and no further construction permit requirements apply.

## Appendix B – Construction BMPs

INSTRUCTIONS

- The following includes a list of the BMPs to be implemented on the site.  Go to the applicable SWMM, photocopy the BMP fact sheets in Section ????, then insert a hardcopy of the fact sheets into this appendix.   The facts sheets provide a descriptive narrative and construction/installation details for each BMP.

.

## Appendix C – Alternative BMPs

The following includes a list of possible alternative BMPs for each of the 12 elements not described in the main SWPPP text.   This list can be referenced in the event a BMP for a specific element is not functioning as designed and an alternative BMP needs to be implemented.

Element #1 - Mark Clearing Limits

Element #2 - Establish Construction Access

Element #3 - Control Flow Rates

Element #4 - Install Sediment Controls

Advanced BMPs:

Element #5 - Stabilize Soils

Element #6 - Protect Slopes

Element #8 - Stabilize Channels and Outlets

Element #10 - Control Dewatering

Additional Advanced BMPs to Control Dewatering:

## Appendix D – General Permit

INSTRUCTIONS

- Insert the completed general permit into this appendix.

## Appendix E – Site Inspection Forms (and Site Log)

The results of each inspection shall be summarized in an inspection report or checklist that is entered into or attached to the site log book.  It is suggested that the inspection report or checklist be included in this appendix to keep monitoring and inspection information in one document, but this is optional.  However, it is mandatory that this SWPPP and the site inspection forms be kept onsite at all times during construction, and that inspections be performed and documented as outlined below.

At a minimum, each inspection report or checklist shall include:

a. 	Inspection date/times

b.	Weather information: general conditions during inspection, approximate    amount of precipitation since the last inspection, and approximate amount of precipitation within the last 24 hours.

c.	A summary or list of all BMPs that have been implemented, including observations of all erosion/sediment control structures or practices.

d.	The following shall be noted:

i.     locations of BMPs inspected,

        - ii.    locations of BMPs that need maintenance,

  - iii.     the reason maintenance is needed,

  - iv.     locations of BMPs that failed to operate as designed or intended, and

v.     locations where additional or different BMPs are needed, and the  reason(s) why

e.	A description of stormwater discharged from the site. The presence of suspended sediment, turbid water, discoloration, and/or oil sheen shall be noted, as applicable.

f.	A description of any water quality monitoring performed during inspection, and the results of that monitoring.

g.		General comments and notes, including a brief description of any BMP r	repairs, maintenance or installations made as a result of the inspection.

h.	A statement that, in the judgment of the person conducting the site inspection, the site is either in compliance or out of compliance with the terms and conditions of the SWPPP and the NPDES permit.  If the site inspection indicates that the site is out of compliance, the inspection report shall include a summary of the remedial actions required to bring the site back into compliance, as well as a schedule of implementation.

i.	Name, title, and signature of person conducting the site inspection; and the following statement: “I certify under penalty of law that this report is true, accurate, and complete, to the best of my knowledge and belief”.

When the site inspection indicates that the site is not in compliance with any terms and conditions of the NPDES permit, the Permittee shall take immediate action(s) to: stop, contain, and clean up the unauthorized discharges, or otherwise stop the noncompliance; correct the problem(s); implement appropriate Best Management Practices (BMPs), and/or conduct maintenance of existing BMPs; and achieve compliance with all applicable standards and permit conditions. In addition, if the noncompliance causes a threat to human health or the environment, the Permittee shall comply with the Noncompliance Notification requirements in Special Condition S5.F of the permit.

INSTRUCTIONS

- The following provides a basis for a site inspection form. This particular form is optional and not required. However, if this form or a similar form is not used, the site inspection information required under this SWPPP and General Permit must still be included in the site log book.  This form may be edited, replicated, and placed in this Appendix to function as the site log book for inspection and monitoring requirements.  This will keep all SWPPP and monitoring information for the construction site in the same location for easy reference.

Site Inspection Form

| General Information |
| --- |
| Project Name: |  |
| Inspector Name: |  | Title: CESCL # : |  |
| Date: |  | Time: |  |
| Inspection Type: | □ | After a rain event |  |  |
|  |  |  | □ | Weekly |  |
|  |  |  | □ | Turbidity/transparency benchmark exceedance |  |
|  |  |  | □ | Other |  |
| Weather |  |
| Precipitation | Since last inspection |  | In last 24 hours |  |
| Description of General Site Conditions: |  |
| Inspection of BMPs |
| Element 1: Mark Clearing Limits |
| BMP: |

| Location | Inspected | Functioning | Problem/Corrective Action |
| --- | --- | --- | --- |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| Element 2: Establish Construction Access |  |  |  |  |  |  |  |  |
| BMP: |  |  |  |  |  |  |  |  |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| Element 3: Control Flow Rates |  |  |  |  |  |  |  |  |
| BMP: |  |  |  |  |  |  |  |  |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| Element 4: Install Sediment Controls |  |  |  |  |  |  |  |  |
| BMP: |  |  |  |  |  |  |  |  |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |

| Element 5: Stabilize Soils |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BMP: |  |  |  |  |  |  |  |  |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| Element 6: Protect Slopes |  |  |  |  |  |  |  |  |
| BMP: |  |  |  |  |  |  |  |  |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |

| Element 7: Protect Drain Inlets |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BMP: |  |  |  |  |  |  |  |  |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| Element 8: Stabilize Channels and Outlets |  |  |  |  |  |  |  |  |
| BMP: |  |  |  |  |  |  |  |  |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |

| Element 9: Control Pollutants |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BMP: |  |  |  |  |  |  |  |  |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| Element 10: Control Dewatering |  |  |  |  |  |  |  |  |
| BMP: |  |  |  |  |  |  |  |  |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |
| BMP: |
| Location | Inspected | Functioning | Problem/Corrective Action |
|  |  | Y | N |  | Y | N | NIP |  |

| Stormwater Discharges From the Site |
| --- |
|  | Observed? | Problem/Corrective Action |
|  |  | Y | N |  |  |
| Location |  |
|  | Turbidity |  |  |  |  |  |
|  | Discoloration |  |  |  |  |  |
|  | Sheen |  |  |  |  |  |
| Location |  |
|  | Turbidity |  |  |  |  |  |
|  | Discoloration |  |  |  |  |  |
|  | Sheen |  |  |  |  |  |

| Water Quality Monitoring |
| --- |
| Was any water quality monitoring conducted? |  | □ | Yes |  |  | □ | No |  |  |
| If water quality monitoring was conducted, record results here: |
| If water quality monitoring indicated turbidity 250 NTU or greater; or transparency 6 cm or less, was Ecology notified by phone within 24 hrs? |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ | Yes |  |  | □ | No |  |  |
| If Ecology was notified, indicate the date, time, contact name and phone number below: |
| Date: |  |
| Time: |  |
| Contact Name: |  |
| Phone #: |  |
| General Comments and Notes Include BMP repairs, maintenance, or installations made as a result of the inspection. |
| Were Photos Taken? |  | □ | Yes |  |  | □ | No |  |  |
| If photos taken, describe photos below: |

## Appendix F – Engineering Calculations

INSTRUCTIONS

- Insert hard copies of all engineering calculations.